## Sheet1
BIOMEDICAL EQUIPMENT LIST
ITEM | TAG | DESCRIPTION | LOCATION | STATUS | Software Integration Requirement | Software Integration Manual Availability | Connectivity RJ45 Network Port or Serial Port
EQMNTR0001 | 1 | BPL ELITE VIEW EV8 MULTIPARA MONITOR | MEDICAL INTENSIVE CARE UNIT | WORKING
EQMNTR0001 | 2 | BPL ELITE VIEW EV8 MULTIPARA MONITOR | MEDICAL INTENSIVE CARE UNIT | WORKING
EQMNTR0001 | 3 | BPL ELITE VIEW EV8 MULTIPARA MONITOR | MEDICAL INTENSIVE CARE UNIT | WORKING
EQMNTR0001 | 4 | BPL ELITE VIEW EV8 MULTIPARA MONITOR | MEDICAL INTENSIVE CARE UNIT | WORKING
| 5 | BPL ELITE VIEW EV8 MULTIPARA MONITOR | MEDICAL INTENSIVE CARE UNIT | WORKING
| 6 | BPL ELITE VIEW EV8 MULTIPARA MONITOR | MEDICAL INTENSIVE CARE UNIT | WORKING
| 7 | BPL ELITE VIEW EV8 MULTIPARA MONITOR | MEDICAL INTENSIVE CARE UNIT | WORKING
| 8 | BPL ELITE VIEW EV8 MULTIPARA MONITOR | MEDICAL INTENSIVE CARE UNIT | WORKING
| 9 | BPL ELITE VIEW EV8 MULTIPARA MONITOR | MEDICAL INTENSIVE CARE UNIT | WORKING
EQSYRP0002 | 1 | SKANRAY FLOSCAN 3000 SYRINGE PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
EQSYRP0002 | 2 | SKANRAY FLOSCAN 3000 SYRINGE PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
EQSYRP0002 | 3 | SKANRAY FLOSCAN 3000 SYRINGE PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
| 4 | SKANRAY FLOSCAN 3000 SYRINGE PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
| 5 | SKANRAY FLOSCAN 3000 SYRINGE PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
| 6 | SKANRAY FLOSCAN 3000 SYRINGE PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
| 7 | SKANRAY FLOSCAN 3000 SYRINGE PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
| 8 | SKANRAY FLOSCAN 3000 SYRINGE PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
EQINFU0003 | 1 | SKANRAY SCANTRYLO INFUSION PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
EQINFU0003 | 2 | SKANRAY SCANTRYLO INFUSION PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
EQINFU0003 | 3 | SKANRAY SCANTRYLO INFUSION PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
EQINFU0003 | 4 | SKANRAY SCANTRYLO INFUSION PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
| 5 | SKANRAY SCANTRYLO INFUSION PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
| 6 | SKANRAY SCANTRYLO INFUSION PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
| 7 | SKANRAY SCANTRYLO INFUSION PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
| 8 | SKANRAY SCANTRYLO INFUSION PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
| 9 | SKANRAY SCANTRYLO INFUSION PUMP | MEDICAL INTENSIVE CARE UNIT | WORKING
EQWRMR0004 | 1 | COVIDIEN WARM TOUCH PATIENT WARMER | MEDICAL INTENSIVE CARE UNIT | WORKING
EQDFIB0005 | 1 | BPL REALLIFE 900 DEFIBRILLATOR | MEDICAL INTENSIVE CARE UNIT | WORKING
EQECGM0006 | 1 | BPL SMARTUP KEEP ECG MACHINE | MEDICAL INTENSIVE CARE UNIT | WORKING
EQVENT0007 | 1 | HAMILTON C1 VENTILATOR | MEDICAL INTENSIVE CARE UNIT | WORKING
EQVENT0007 | 2 | HAMILTON C1 VENTILATOR | MEDICAL INTENSIVE CARE UNIT | WORKING
EQSUCT0008 | 1 | SUCTION APPARATUS | MEDICAL INTENSIVE CARE UNIT | WORKING
EQOXYG0009 | 1 | O2 CONCENTRATOR SYSMED | MEDICAL INTENSIVE CARE UNIT | WORKING
EQVENT0185 | 1 | PHILIPS RESPIRONICS TRILOGY EV300 VENTILATOR | MEDICAL INTENSIVE CARE UNIT | WORKING
EQVENT0010 | 1 | HAMILTON C1 VENTILATOR | NEONATAL INTENSIVE CARE UNIT | WORKING
EQVENT0010 | 2 | HAMILTON C1 VENTILATOR | NEONATAL INTENSIVE CARE UNIT | WORKING
EQOXYG0011 | 1 | OXYGEN CONCENTRATOR KEYHUB | NEONATAL INTENSIVE CARE UNIT | WORKING
EQMNTR0012 | 1 | SKANRAY TRUSCAN S500 MULTIPARA MONITOR | NEONATAL INTENSIVE CARE UNIT | WORKING
EQMNTR0012 | 2 | SKANRAY TRUSCAN S500 MULTIPARA MONITOR | NEONATAL INTENSIVE CARE UNIT | WORKING
EQMNTR0012 | 3 | SKANRAY TRUSCAN S500 MULTIPARA MONITOR | NEONATAL INTENSIVE CARE UNIT | WORKING
EQMNTR0012 | 4 | SKANRAY TRUSCAN S500 MULTIPARA MONITOR | NEONATAL INTENSIVE CARE UNIT | WORKING
EQMNTR0012 | 5 | SKANRAY TRUSCAN S500 MULTIPARA MONITOR | NEONATAL INTENSIVE CARE UNIT | WORKING
EQMNTR0012 | 6 | SKANRAY TRUSCAN S500 MULTIPARA MONITOR | NEONATAL INTENSIVE CARE UNIT | WORKING
EQMNTR0012 | 7 | SKANRAY TRUSCAN S500 MULTIPARA MONITOR | NEONATAL INTENSIVE CARE UNIT | WORKING
EQMNTR0012 | 8 | SKANRAY TRUSCAN S500 MULTIPARA MONITOR | NEONATAL INTENSIVE CARE UNIT | WORKING
EQMNTR0013 | 1 | BPL ULTIMA PRIME MULTIPARA MONITOR | NEONATAL INTENSIVE CARE UNIT | WORKING
EQWRMR0014 | 1 | IBIS MEDICAL I CORE-10 RADIANT WARMER | NEONATAL INTENSIVE CARE UNIT | WORKING
EQWRMR0014 | 2 | IBIS MEDICAL I CORE-10 RADIANT WARMER | NEONATAL INTENSIVE CARE UNIT | WORKING
EQWRMR0015 | 1 | NEOTECH RADIANT WARMER | NEONATAL INTENSIVE CARE UNIT | WORKING
EQWRMR0015 | 2 | NEOTECH RADIANT WARMER | NEONATAL INTENSIVE CARE UNIT | WORKING
EQWRMR0015 | 3 | NEOTECH RADIANT WARMER | NEONATAL INTENSIVE CARE UNIT | WORKING
EQWRMR0015 | 4 | NEOTECH RADIANT WARMER | NEONATAL INTENSIVE CARE UNIT | WORKING
EQWRMR0015 | 5 | NEOTECH RADIANT WARMER | NEONATAL INTENSIVE CARE UNIT | WORKING
EQWRMR0015 | 6 | NEOTECH RADIANT WARMER | NEONATAL INTENSIVE CARE UNIT | WORKING
EQPHOT0016 | 1 | SEEFAR 4000 SPOT PHOTOTHERAPY UNIT | NEONATAL INTENSIVE CARE UNIT | WORKING
EQPHOT0016 | 2 | SEEFAR 4000 SPOT PHOTOTHERAPY UNIT | NEONATAL INTENSIVE CARE UNIT | WORKING
EQPHOT0016 | 3 | SEEFAR 4000 SPOT PHOTOTHERAPY UNIT | NEONATAL INTENSIVE CARE UNIT | WORKING
EQPHOT0016 | 4 | SEEFAR 4000 SPOT PHOTOTHERAPY UNIT | NEONATAL INTENSIVE CARE UNIT | WORKING
EQPHOT0016 | 5 | SEEFAR 4000 SPOT PHOTOTHERAPY UNIT | NEONATAL INTENSIVE CARE UNIT | WORKING
EQDIAL0017 | 1 | FRESENIUS 4008S HEMODIALYSIS MACHINE | DIALYSIS UNIT | WORKING
EQDIAL0017 | 2 | FRESENIUS 4008S HEMODIALYSIS MACHINE | DIALYSIS UNIT | WORKING
EQDIAL0017 | 3 | FRESENIUS 4008S HEMODIALYSIS MACHINE | DIALYSIS UNIT | WORKING
EQDIAL0017 | 4 | FRESENIUS 4008S HEMODIALYSIS MACHINE | DIALYSIS UNIT | WORKING
EQDIAL0017 | 5 | FRESENIUS 4008S HEMODIALYSIS MACHINE | DIALYSIS UNIT | WORKING
EQMNTR0018 | 1 | BPL ELITE VIEW E8 MULTIPARA MONITOR | DIALYSIS UNIT | WORKING
EQMNTR0018 | 2 | BPL ELITE VIEW E8 MULTIPARA MONITOR | DIALYSIS UNIT | WORKING
EQMNTR0018 | 3 | BPL ELITE VIEW E8 MULTIPARA MONITOR | DIALYSIS UNIT | WORKING
EQENDO0019 | 1 | OLYMPUS CV-170 ENDOSCOPE UNIT | GASTROENTEROLOGY OP | WORKING
EQMNTR0019 | 2 | SONY LMD-2110MD LCD MONITOR | GASTROENTEROLOGY OP | WORKING
EQDIAT0020 | 1 | SPARK 400B DELUXE SURGICAL DIATHERMY | GASTROENTEROLOGY OP | WORKING
EQANAE0021 | 1 | BOYLES ANAESTHESIA MACHINE | GASTROENTEROLOGY OP | WORKING
EQMNTR0022 | 1 | BPL ULTIMA PRIME D MULTIPARA MONITOR | GASTROENTEROLOGY OP | WORKING
EQULTR0118 | 1 | GE ULTRASOUND LOGIC V3 | GASTROENTEROLOGY OP | WORKING
| 1 | CLARITY (BT40+) DIGITAL EEG MACHINE | NEUROLOGY LAB | WORKING
| 1 | CLARITY OCTOPUS - EMG MACHINE | NEUROLOGY LAB | WORKING
EQDIAT0023 | 1 | MEGA SURG DERMA INDIA CAUTERY MACHINE | SKIN OP | WORKING
EQREFR0024 | 1 | AUTO REFRACTOMETER TOPCON RM-8900 | EYE OP | WORKING
EQSLIT0025 | 1 | SLIT LAMP A1A-11 2S APASAMY ASSOCIATES | EYE OP | WORKING
EQSLIT0026 | 1 | SLIT LAMP A1A-12 | EYE OP | WORKING
EQKERA0186 | 1 | KERATOMETER | EYE OP | WORKING
EQASCA0187 | 1 | SONOMED A-SCAN 300A+ A SCAN MACHINE | EYE OP | WORKING
EQECHO0188 | 1 | 2D ECHO GE VIVID T8 | CARDIOLOGY OP | WORKING
EQTMTM0189 | 1 | BPL TMT MACHINE | CARDIOLOGY OP | WORKING
EQSTEA0190 | 1 | STEAM BOX | AYURVEDA | WORKING
EQDCHA0193 | 1 | DENTAL CHAIR | DENTAL OP | WORKING
EQDCHA0193 | 2 | DENTAL CHAIR | DENTAL OP | WORKING
EQDCHA0193 | 3 | DENTAL CHAIR | DENTAL OP | WORKING
EQDCHA0193 | 4 | DENTAL CHAIR | DENTAL OP | WORKING
EQXRAY0194 | 1 | GENORAY EZX-60 PORTABLE DENTAL X-RAY | DENTAL OP | WORKING
EQREAD0027 | 1 | FUJIFILM FCR CAPSULA CR READER | RADIOLOGY X RAY | WORKING
EQPRIN0028 | 1 | FUJIFILM DRY PIX PLUS CR PRINTER | RADIOLOGY X RAY | WORKING
EQXRAY0029 | 1 | SIEMENS MULTIPHOS 450 XRAY MACHINE | RADIOLOGY X RAY | WORKING
EQXRAY0030 | 1 | SIEMENS PORTABLE X RAY | RADIOLOGY X RAY | WORKING
EQXRAY0031 | 1 | ALLENGERS MARS 4.2 PORTABLE X RAY | RADIOLOGY X RAY | WORKING
EQMRIM0191 | 1 | GE SIGNA EXPLORER MRI MACHINE 1.5T | RADIOLOGY MRI | WORKING
EQULTR0192 | 1 | GE VOLUSON P8 ULTRASOUND MACHINE | RADIOLOGY ULTRASOUND | WORKING
EQECGM0032 | 1 | ALLENGERS PISCES A-103 ECG MACHINE | ECG ROOM | WORKING
| 2 | ALLENGERS PISCES A-103 ECG MACHINE | ECG ROOM
EQECGM0033 | 1 | BPL CARDIART 6200 VIEW ECG MACHINE | ECG ROOM | WORKING
EQECGM0034 | 1 | BPL CARDIART 9108 ECG MACHINE | ECG ROOM | WORKING
EQDFIB0035 | 1 | NIHON KODEN CARDIO LIFE DEFIBRILLATOR | CASUALITY | WORKING
EQNEBU0036 | 1 | HANDYNED NEBULIZER | CASUALITY | WORKING
EQNEBU0036 | 2 | HANDYNED NEBULIZER | CASUALITY | WORKING
EQNEBU0036 | 3 | HANDYNED NEBULIZER | CASUALITY | WORKING
EQMNTR0037 | 1 | BPL ULTIMA PRIME D MULTIPARA MONITOR | CASUALITY | WORKING
EQMNTR0038 | 1 | SCURE PATIENT MONITOR | CASUALITY | WORKING
EQMNTR0038 | 2 | SCURE PATIENT MONITOR | CASUALITY | WORKING
EQSYRP0039 | 1 | WELCARE ST-400 SYRINGE PUMP | CASUALITY | WORKING
EQINFU0040 | 1 | WELCARE ST-1000H INFUSION PUMP | CASUALITY | WORKING
EQULTR0041 | 1 | GE LOGIQ P5 ULTRASOUND MACHINE | CASUALITY | WORKING
EQOXYG0042 | 1 | SEWA KEYHUB O2 CONCENTRATOR , 5L | CASUALITY | WORKING
EQOXYG0043 | 1 | SEWA KEYHUB O2 CONCENTRATOR , 10 L | CASUALITY | WORKING
EQECGM0044 | 1 | BPL CARDIART 6208 VIEW ECG MACHINE | CASUALITY | WORKING
EQVENT0045 | 1 | AUTOMEDX SAVE 2+ PORTABLE VENTILATOR | CASUALITY | WORKING
EQCPAP0046 | 1 | LUNA 2 CPAP | CASUALITY | WORKING
EQBPAP0047 | 1 | PHILIPS RESPIRONICS BIPAP | CASUALITY | WORKING
EQCENT0048 | 1 | ADVIA CENTAUR CP SIEMENS | LABORATORY | WORKING
EQVITR0049 | 1 | VITROS 250 CHEMISTRY ANALYZER | LABORATORY | WORKING
EQMISP0050 | 1 | MISPA i2 PROTEIN ANALYZER | LABORATORY | WORKING
EQCHEM0051 | 1 | I CHEM+ SEMI AUTOMATED ANALYZER | LABORATORY | WORKING
EQSYSM0052 | 1 | SYSMEX XN 550 HEMATOLOGY ANALYZER | LABORATORY | WORKING
EQMYTH0053 | 1 | MYTHIC 18 | LABORATORY | WORKING
EQUANA0054 | 1 | DIRUI H-100 URINE ANALYZER | LABORATORY | WORKING
EQMICR0055 | 1 | LABOMED BINOCULAR MICROSCOPE | LABORATORY | WORKING
EQMICR0056 | 1 | UNILAB MODEL RH70 MONOCULAR MICROSCOPE | LABORATORY | WORKING
EQMISP0057 | 1 | MISPA CLOG+ | LABORATORY | WORKING
EQCNFG0058 | 1 | ELECTRA BL CENTRIFUGE | LABORATORY | WORKING
EQCNFG0059 | 1 | KEMI CENTRIFUGE | LABORATORY | WORKING
EQBMIX0060 | 1 | BLOOD MIXER C PAULO | LABORATORY | WORKING
EQVMIX0061 | 1 | VORTEX MIXER REMI | LABORATORY | WORKING
EQGEMP0062 | 1 | GEM PREMIER 3000 IL | LABORATORY | WORKING
EQINOC0063 | 1 | INNOCULATION HOOD KEMI | LABORATORY | WORKING
EQAUTO0064 | 1 | AUTOCLAVE BESTON | LABORATORY | WORKING
EQINCU0065 | 1 | INCUBATOR TEMPOV - 206 | LABORATORY | WORKING
EQINCU0066 | 1 | INCUBATOR KEMI | LABORATORY | WORKING
EQHAOV0067 | 1 | HOT AIR OVEN | LABORATORY | WORKING
EQWMAC0068 | 1 | WEIGHING MACHINE HERCULES | LABORATORY | WORKING
EQWMAC0069 | 1 | WEIGHING MACHINE ATOM A115C | LABORATORY | WORKING
EQNEED0070 | 1 | NEDLE CUTTER | LABORATORY | WORKING
EQNEED0070 | 2 | NEEDLE CUTTER | LABORATORY | WORKING
EQNEED0070 | 3 | NEEDLE CUTTER | LABORATORY | WORKING
EQWATP0071 | 1 | UV WATER PURIFIER SMART | LABORATORY | WORKING
EQWBTH0072 | 1 | WATER BATH | LABORATORY | WORKING
EQMTME0073 | 1 | MICROTOME | LABORATORY | WORKING
EQMISP0074 | 1 | MISPA i3 PROTEIN ANALYZER | LABORATORY | WORKING
EQMESR0075 | 1 | MICROSED ESR SYSTEM | LABORATORY | WORKING
EQCNFG0076 | 1 | LABTECH CPAULO CENTRIFUGE | LABORATORY | WORKING
EQERDR0077 | 1 | ELISA READER AM2100 | LABORATORY | WORKING
EQMTME0195 | 1 | MICROTOME YORCO | LABORATORY | WORKING
EQTFBH0196 | 1 | TISSUE FLOTATION BATH YORCO | LABORATORY | WORKING
| 1 | CENTRIFUGE REMI | LABORATORY | WORKING
| 1 | JOHNSON AND JOHNSON VITROS 5600 ORTHO CLINICAL DIAGNOSTICS | LABORATORY | WORKING
| 1 | BACTALERT 3D 120 MICROBIAL CULTURE SYSTEM | LABORATORY | WORKING
| 1 | VITEK 2 COMPACT 30 - IDENTIFICATION AND SENSITIVITY SYSTEM | LABORATORY | WORKING
EQBLCM0078 | 1 | BLOOD COLLECTION MONITOR TERUMO D601 | TRANSFUSION MEDICINE | WORKING
EQBLCM0078 | 2 | BLOOD COLLECTION MONITOR TERUMO D601 | TRANSFUSION MEDICINE | WORKING
EQBLCM0078 | 3 | BLOOD COLLECTION MONITOR TERUMO D601 | TRANSFUSION MEDICINE | WORKING
EQBLCM0078 | 4 | BLOOD COLLECTION MONITOR TERUMO D601 | TRANSFUSION MEDICINE | WORKING
EQBLCM0078 | 5 | BLOOD COLLECTION MONITOR TERUMO D601 | TRANSFUSION MEDICINE | WORKING
EQTSLR0079 | 1 | TUBE SEALER XS1010 | TRANSFUSION MEDICINE | WORKING
EQCNFG0080 | 1 | REMI KGM-70 CENTRIFUGE | TRANSFUSION MEDICINE | WORKING
EQLAMI0081 | 1 | BESTON LAMINAR AIRFLOW | TRANSFUSION MEDICINE | WORKING
EQPLEX0082 | 1 | PLASMA EXPRESSOR TERUMO | TRANSFUSION MEDICINE | WORKING
EQPLEX0082 | 2 | PLASMA EXPRESSOR TERUMO | TRANSFUSION MEDICINE | WORKING
EQPBTH0083 | 1 | PLASMA BATH TERUMO PB100 | TRANSFUSION MEDICINE | WORKING
EQWBTH0084 | 1 | BESTON WATER BATH | TRANSFUSION MEDICINE | WORKING
EQCBTH0085 | 1 | CRYO BATH TERUMO | TRANSFUSION MEDICINE | WORKING
EQPAGI0086 | 1 | PLATELLET AGITATOR TERUMO PENPOL P1200 | TRANSFUSION MEDICINE | WORKING
EQDIPH0087 | 1 | DIGITAL PH METER | TRANSFUSION MEDICINE | WORKING
EQWSCA0088 | 1 | WEIGHING SCALE TERUMO PENPOL CS300 | TRANSFUSION MEDICINE | WORKING
EQHAOV0089 | 1 | BESTON HOT AIR OVEN | TRANSFUSION MEDICINE | WORKING
EQAUTO0090 | 1 | AUTOCLAVE BESTON | TRANSFUSION MEDICINE | WORKING
EQDFRZ0091 | 1 | DEEP FREEZER TERUMO PENPOL DF80 U | TRANSFUSION MEDICINE | WORKING
EQDFRZ0092 | 1 | DEEP FREEZER TERUMO PENPOL DF 40U | TRANSFUSION MEDICINE | WORKING
EQBLBR0093 | 1 | BLOOD BANK REFRIGERATOR TERUMO | TRANSFUSION MEDICINE | WORKING
EQCNFG0094 | 1 | REMI CENTRIFUGE R-8C | TRANSFUSION MEDICINE | WORKING
EQSVBX0095 | 1 | BESTON SLIDE VIEW BOX | TRANSFUSION MEDICINE | WORKING
EQMICR0096 | 1 | COMPOUND MICROSCOPE LABOMED | TRANSFUSION MEDICINE | WORKING
EQERDR0097 | 1 | ELISA READER 4200 STAR FAX | TRANSFUSION MEDICINE | WORKING
EQEWSR0098 | 1 | ELISA WASHER STAR FAX 2600 | TRANSFUSION MEDICINE | WORKING
EQINCU0099 | 1 | BESTON INCUBATOR | TRANSFUSION MEDICINE | WORKING
EQRREF0100 | 1 | TERUMO PENPOL REAGENT REFRIGERATOR | TRANSFUSION MEDICINE | WORKING
EQSHAK0101 | 1 | VDRL SHAKER REMI RS-12R | TRANSFUSION MEDICINE | WORKING
EQMFZR0102 | 1 | MOBILE FREEZER REMI MBT 100 | TRANSFUSION MEDICINE | WORKING
EQTSLR0103 | 1 | PORATBLE TUBE SEALER | TRANSFUSION MEDICINE | WORKING
EQAPHR0104 | 1 | APHERESIS MACHINE TERUMO BCT TRIMA 81000 | TRANSFUSION MEDICINE | WORKING
EQMNTR0105 | 1 | SONY BRAVIA BX300 PATIENT MONITOR | MINOR OT | WORKING
EQLIGH0106 | 1 | KARL STORZ HALOGEN 250 TWIN LIGHT SOURCE | MINOR OT | WORKING
EQCMRA0107 | 1 | OLYMPUS OTV-SC CAMERA UNIT | MINOR OT | WORKING
EQMNTR0108 | 1 | BPL ULTIMA PRIME D MULTIPARA MONITOR | MINOR OT | WORKING
EQMNTR0108 | 2 | BPL ULTIMA PRIME D MULTIPARA MONITOR | MINOR OT | WORKING
EQANAE0109 | 1 | ANAESTHESIA MACHINE BOYLES | MINOR OT | WORKING
EQANAE0110 | 1 | SPACELABS BLEASFOCUS 900 SERIES ANAESTHESIA MACHINE | GYNEAC OT | WORKING
EQDIAT0111 | 1 | SPARK 225 ELECTRO SURGICAL UNIT | GYNEAC OT | WORKING
EQMNTR0112 | 1 | MINDRAY UMEC 10 MULTIPARA MONITOR | GYNEAC OT | WORKING
EQMICR0113 | 1 | MICROSCOPE ZEISS | EYE OT | WORKING
EQPHAC0114 | 1 | SOVEREIGN COMPACT PHACO METER | EYE OT | WORKING
EQDIAT0115 | 1 | MICROSURGICAL EYE CAUTERY | EYE OT | WORKING
EQDIAT0116 | 1 | ECLIPSE CRESTA CAUTERY MACHINE | EYE OT | WORKING
EQULTR0117 | 1 | SONOSITE M-TURBO ULTRASOUND MACHINE | SURGERY OT | WORKING
EQDIAT0119 | 1 | VALLEYLAB COVIDIEN CAUTERY MACHINE | SURGERY OT | WORKING
EQENDO0120 | 1 | KARL STORZ ENDOSCOPE UNIT | SURGERY OT | WORKING
EQINSU0121 | 1 | AVALON CO2 -40L ADVANCE INSUFFALATOR | SURGERY OT | WORKING
EQINSU0122 | 1 | KLAZ MEDICO CO2-30L ADVANCE INSUFFALATOR | SURGERY OT | WORKING
EQAPUM0123 | 1 | CONMED ARTHROSCOPIC PUMP | SURGERY OT | WORKING
EQHARM0124 | 1 | ETHICON ENDO SURGERY HARMONIC MACHINE | SURGERY OT | WORKING
EQCMRA0125 | 1 | KARL STORZ TELECAM DX2 CAMERA UNIT | SURGERY OT | WORKING
EQCMRA0126 | 1 | KARL STORZ IMAGE IS CAMERA UNIT | SURGERY OT | WORKING
EQLIGH0127 | 1 | KARL STORZ XENON NOVA 300 LIGHT SOURCE | SURGERY OT | WORKING
EQRESE0128 | 1 | CONMED D4000A ARTHROSCOPIC RESECTION SYSTEM | SURGERY OT | WORKING
EQANAE0110 | 2 | SPACELABS BLEASFOCUS 900 SERIES ANAESTHESIA MACHINE | SURGERY OT | WORKING
EQSYRP0129 | 1 | WELCARE ST-400 SYRINGE PUMP | SURGERY OT | WORKING
EQANAE0110 | 3 | SPACELABS BLEASFOCUS 900 SERIES ANAESTHESIA MACHINE | ORTHOPEDICS OT | WORKING
EQCARM0130 | 1 | SIEMENS C-ARM MULTI MOBIL 5C | ORTHOPEDICS OT | WORKING
EQMNTR0131 | 1 | SPACELABS HEALTHCARE MULTIPARA MONITOR | ORTHOPEDICS OT | WORKING
EQWRMR0132 | 1 | COVIDIEN WARM TOUCH PATIENT WARMER | ORTHOPEDICS OT | WORKING
EQAUTO0133 | 1 | AUTOCLAVE MACHINE | OT | WORKING
EQSEAL0134 | 1 | SEALING MACHINE CS SMART | OT | WORKING
EQAUTO0135 | 1 | FLASH AUTOCLAVE MACHINE | OT | WORKING
EQETOM0136 | 1 | ETHYLENE OXIDE STERILIZATION MACHINE | OT | WORKING
EQMORC0137 | 1 | LIMAS MORCELLATOR | OT | WORKING
EQPRPM0138 | 1 | REMP PRP ULTRA MACHINE | OT | WORKING
EQMICR0139 | 1 | ZEISS MICROSCOPE | OT | WORKING
EQMNTR0140 | 1 | HYGEIA EVA MULTIPARA MONITOR | LABOUR ROOM | WORKING
EQMNTE0140 | 2 | HYGEIA EVA MULTIPARA MONITOR | LABOUR ROOM | WORKING
EQECGM0141 | 1 | NIHON KODEN CARDIO FAX ECG MACHINE | LABOUR ROOM | WORKING
EQWRMR0142 | 1 | IBIS I CORE-10 RADIANT WARMER | LABOUR ROOM | WORKING
EQNSTM0143 | 1 | BPL NST MACHINE | LABOUR ROOM | WORKING
EQNSTM0197 | 1 | PHILIPS FM-20 FETAL MONITORING NST MACHINE | LABOUR ROOM | WORKING
EQMNTR0144 | 1 | BPL ULTIMA PRIME D MULTIPARA MONITOR | MALE POST OPERATIVE CARE | WORKING
EQMNTR0144 | 2 | BPL ULTIMA PRIME D MULTIPARA MONITOR | MALE POST OPERATIVE CARE | WORKING
EQMNTR0144 | 3 | BPL ULTIMA PRIME D MULTIPARA MONITOR | MALE POST OPERATIVE CARE | WORKING
EQMNTR0144 | 4 | BPL ULTIMA PRIME D MULTIPARA MONITOR | MALE POST OPERATIVE CARE | WORKING
EQMNTR0144 | 5 | BPL ULTIMA PRIME D MULTIPARA MONITOR | MALE POST OPERATIVE CARE | WORKING
EQSYRP0145 | 1 | AKAS TERUMAX RX SYRINGE PUMP | MALE POST OPERATIVE CARE | WORKING
EQNEBU0146 | 1 | NEBULIZER OMARON | MALE POST OPERATIVE CARE | WORKING
EQMNTR0147 | 1 | MINDRAY MEC 1200 MULTIPARA MONITOR | FEMALE POST OPERATIVE CARE | WORKING
EQMNTR0147 | 2 | MINDRAY MEC 1200 MULTIPARA MONITOR | FEMALE POST OPERATIVE CARE | WORKING
EQMNTR0147 | 3 | MINDRAY MEC 1200 MULTIPARA MONITOR | FEMALE POST OPERATIVE CARE | WORKING
EQMNTR0148 | 1 | MEDIAID M-1000 MULTIPARA MONITOR | FEMALE POST OPERATIVE CARE | WORKING
EQMNTR0149 | 1 | BPL ULTIMA PRIME D MULTIPARA MONITOR | FEMALE POST OPERATIVE CARE | WORKING
EQMNTR0150 | 1 | HYGEIA EVA MULTIPARA MONITOR | FEMALE POST OPERATIVE CARE | WORKING
EQOXYG0151 | 1 | O2 CONCENTRATOR OC-E100 | FEMALE POST OPERATIVE CARE | WORKING
EQNEBU0152 | 1 | HANDYNEB NEBULIZER | GROUND FLOOR WARD | WORKING
EQNEBU0152 | 2 | HANDYNEB NEBULIZER | GROUND FLOOR WARD | WORKING
EQOXYG0153 | 1 | O2 CONCENTRATOR SYSMED | GROUND FLOOR WARD | WORKING
EQOXYG0153 | 2 | O2 CONCENTRATOR SYSMED | GROUND FLOOR WARD | WORKING
EQOXYG0154 | 1 | O2 CONCENTRATOR SYSMED | FIRST FLOOR WARD | WORKING
EQNEBU0155 | 1 | HANDYNEB NEBULIZER | SECOND FLOOR WARD | WORKING
EQOXYG0156 | 1 | O2 CONCENTRATOR SYSMED | SECOND FLOOR WARD | WORKING
EQOXYG0157 | 1 | O2 CONCENTRATOR SEWA KEYHUB | SECOND FLOOR WARD | WORKING
EQSUCT0158 | 1 | SUCTION APPARATUS | SECOND FLOOR WARD | WORKING
EQSUCT0158 | 2 | SUCTION APPARATUS | SECOND FLOOR WARD | NOT WORKING
EQNEBU0159 | 1 | HANDYNEB NEBULIZER | THIRD FLOOR | WORKING
EQNEBU0159 | 2 | HANDYNEB NEBULIZER | THIRD FLOOR | WORKING
EQOXYG0160 | 1 | O2 CONCENTRATOR SYSMED | THIRD FLOOR | WORKING
EQSUCT0161 | 1 | SUCTION APPARATUS | THIRD FLOOR | WORKING
EQOXYG0162 | 1 | O2 CONCENTRATOR SYSMED | FOURTH FLOOR | WORKING
EQOXYG0163 | 1 | O2 CONCENTRATOR KEYHUB | FOURTH FLOOR | WORKING
EQNEBU0164 | 1 | HANDYNEB NEBULIZER | FOURTH FLOOR | WORKING
EQOXYG0165 | 1 | O2 CONCENTRATOR SYSMED OC-E100 | SURGICAL PAYWARD | WORKING
EQOXYG0166 | 1 | O2 CONCENTRATOR SEWA KEYHUB | SURGICAL PAYWARD | WORKING
EQNEBU0167 | 1 | HANDYNEB NEBULIZER | SURGICAL PAYWARD | WORKING
EQULTU0168 | 1 | ELECTROSON 608 ULTRASOUND THERAPY UNIT | PHYSIOTHERAPY | WORKING
EQIFTU0169 | 1 | VECTRODYNE INTERFERENTIAL THERAPY UNIT | PHYSIOTHERAPY | WORKING
EQTENS0170 | 1 | DIGITENS- 104 TENS MACHINE | PHYSIOTHERAPY | WORKING
EQTENS0170 | 2 | DIGITENS- 104 TENS MACHINE | PHYSIOTHERAPY | WORKING
EQMOST0171 | 1 | MOIST SHEET THERAPY | PHYSIOTHERAPY | WORKING
EQSHWD0172 | 1 | LE ELECTROWAVE 500 SHORT WAVE DIATHERMY | PHYSIOTHERAPY | WORKING
EQIFTU0173 | 1 | VECTROSTIM-100 INTERFERENTIAL THERAPY UNIT | PHYSIOTHERAPY | WORKING
EQTRAC0174 | 1 | AUTOTRAC INTERMITTENT TRACTION | PHYSIOTHERAPY | WORKING
EQSTIM0175 | 1 | ELECTROSTIM DT MUSCLE STIMULATOR | PHYSIOTHERAPY | WORKING
EQTENS0176 | 1 | HMS INDO TENS MACHINE | PHYSIOTHERAPY | WORKING
EQCPMA0177 | 1 | CONTINUOUS PASSIVE MOTION APPARATUS | PHYSIOTHERAPY | WORKING
EQLASR0178 | 1 | LASER THERAPY SS TECHNOMED ELECTRONICS | PHYSIOTHERAPY | WORKING
EQWBTH0179 | 1 | WAX BATH MACHINE | PHYSIOTHERAPY | WORKING
EQSTAT0180 | 1 | STATIC BICYCLE | PHYSIOTHERAPY | WORKING
EQECTM0181 | 1 | ELECTROCONVULSIVE THERAPY UNIT | MOTHER'S HOUSE | WORKING
EQNEBU0182 | 1 | HANDYNEB NEBULIZER | MOTHER'S HOUSE | WORKING
EQBPAP0183 | 1 | BP APPARATUS DIAMOND | MOTHER'S HOUSE | WORKING
EQBPAP0183 | 2 | BP APPARATUS DIAMOND | MOTHER'S HOUSE | WORKING
EQOXYG0184 | 1 | O2 CONCENTRATOR SYSMED | MOTHER'S HOUSE | WORKING
| 1 | O2 CONCENTRATOR BPL OXYNEO DUAL | COVID WARD | WORKING
| 1 | SYSMED O2 CONCENTRATOR | COVID WARD | WORKING
| 1 | YUWELL 02 CONCENTRATOR | COVID WARD | WORKING
| 1 | BPL CARDIART 6208 ECG MACHINE | COVID WARD | WORKING
| 1 | BPL EV8 PATIENT MONITOR | COVID WARD | WORKING
| 1 | SCANRAY TRUFLO INFUSION PUMP | COVID WARD | WORKING
| 1 | PFT MACHINE MINISPIR | ROOM NO: 16 | WORKING
Observations/Notes
1. Integration of new Ultrasound machine